## Types of Chillers
Location | Address | Manufacturer | Type | Model/Serial | Cooling Tower Make | Model/Serial | Cooling Tower Contols
Accokeek Academy Lower Campus | 14500 Berry Rd, Accokeek, MD 20607 | Multistack | Modular Chiller | WHRX070DZV, 0914-1831
Andrew Jackson MS | 3500 Regency Pkwy, Forestville, MD 20747 | Trane | Water Cooled | CVHE50GE L09H01055 | BAC | XES3E-1020-07L/W, U202266901-01-01 | Control Sources
Avalon | 7302 Webster Lane, Fort Washington, MD 20744 | Tandem | Modular Chiller | RM-1, 0113-1551 | N/A
Avalon |  | Tandem | Module 1 | WX070DZV, 0113-1547 | N/A
Avalon |  | Tandem | Module 2 | WHPX050DZV, 0113-1548 | N/A
Avalon |  | Tandem | Module 3 | WHPX050DZV, 0113-1549 | N/A
Avalon |  | Tandem | Module 4 | WHRX050DZV, 0113-1624 | N/A
Baden ES | 13601 Baden Westwood, Brandywine, MD 20613 | Trane | Water Cooled | RTWA 125AX U95E07417 | BAC | PT2-0709A-3K1 U110984807-01 | Local
Beacon Heights ES | 6929 Furman Parkway, Riverdale, MD 20737 | Daikin | Air Cooled | AGZ110EDSEMNN00/ STNU190500055 | NA
Beltsville Academy | 4300 Wicomico Avenue, Beltsville, MD 20705 | Carrier | Air Cooled | 30RBF19064-LNW5C, 0519Q88798 | N/A
Benjamin Foulois ES | 4601 Beauford Rd, Morningside, MD 20746 | Trane | Air Cooled | RTAA2704XT U00K04759 | N/A
Benjamin Stoddert MS | 2501 Olson St, Temple Hills, MD 20748 | Carrier | Air Cooled | 30RBF13054-L---3, 4621Q93052 | N/A
Benjamin Tasker MS | 4901 Collington Rd, Bowie, MD 20715 | York | Water Cooled | YTG1A3C2-CKJS | BAC | 15310R R96400514 | EMCOR
Berwyn Heights ES | 6200 Pontiac St, Berwyn Heights, MD 20740 | Trane | Air Cooled | RTAC1404UD U0200C03634 | N/A
Bladensburg ES | 4915 Annapolis Rd, Bladensburg, MD 20710 | McQuay | Air Cooled, Chiller 1 | AGZ130DH STNU130900148 | N/A
Bladensburg ES | 4915 Annapolis Rd, Bladensburg, MD 20710 | McQuay | Air Cooled, Chiller 2 | AGZ130DH STNU130900144 | N/A
Bladensburg HS | 4200 57th Avenue, Bladensburg, MD 20710 | Daikin | Water Cooled Chiller 1 | WME0501S, STNU180500205 | BAC | 3618A-2, UO37151501 | Conquest Solutions
Bladensburg HS | 4200 57th Avenue, Bladensburg, MD 20710 | Daikin | Water Cooled Chiller 2 | WME0501S, STNU180700144 |  | 3618A-2, UO37151501 | Conquest Solutions
Bond Mill ES | 16001 Sherwood Ave, Laurel, MD 20707 | McQuay | Water Cooled | WMC145D STNU110600208 | Evapco | AT8-79B 3B-148 | EASI
Bonnie Johns | 8437 Landover Rd, Landover, MD 20785 | Trane | Air Cooled, Roof Mounted - YEAR ROUND CHILLER | CGAM110A2P02AXB U16F56061 | N/A
Bowie Annex | 3021 Belair Dr. Bowie, MD 20715 | Trane | Air Cooled Chiller | ACRB2255EUAAEUUCXNC2XFNXCAEV1HBCXXXAA1XXXX0X, U21A08455
Bowie Annex | 3021 Belair Dr. Bowie, MD 20715 | Trane | Air Cooled Chiller 2 | ACRB2255EUAAEUUCXNC2XFNXCAEV1HBCXXXAA1XXXX0X, U21A08454
Bradbury Heights ES | 1401 Glacier Ave, Capitol Heights, MD 20743 | York | Air Cooled | YLAA0120SE SHEM-048440 | N/A
Brandywine ES | 14101 Brandywine Rd, Brandywine, MD 20613 | Daikin | Air Cooled | AGZ070EDSEMUG0A/ STNU201000063 | N/A
Buck Lodge MS | 2611 Buck Lodge Rd, Adelphi, MD 20783 | Trane | Air Cooled, Chiller 1 | CGAM100F U14D42274 | N/A
Buck Lodge MS | 2611 Buck Lodge Rd, Adelphi, MD 20783 | Trane | Air Cooled, Chiller 2 | CGAM100F U14D42275 | N/A
Buck Lodge MS | 2611 Buck Lodge Rd, Adelphi, MD 20783 | Daikin | Water cooled chiller | WGZ045DA4NNDPN, STNU180700146 | Air cooled condenser | ACH050A, T18G09497
C. E. Reig Center | 15542 Peach Walker Dr, Mitchellville, MD 20716 | Trane | Air Cooled, Chiller 1 | CGAM060A2C02 U11B21075 | N/A
C. E. Reig Center | 15542 Peach Walker Dr, Mitchellville, MD 20716 | Trane | Air Cooled, Chiller 2 | CGAM060A2C02 U11B21076 | N/A
Capital Heights ES | 601 Suffolk Ave, Capitol Heights, MD 20743 | York | Air Cooled | YCAL0104EC17XC RBNMD07653 | N/A
Carmody Hills ES | 401 Jade Leaf Ave, Capitol Heights, MD 20743 | Trane | Air Cooled | 30RAP09065B00100, 2022Q93723 | N/A
Carole Highlands ES | 1610 Hannon St, Takoma Park, MD 20912 | Trane | Air Cooled | RTAC140AU U14E09231 | N/A
Catherine T. Reed ES | 9501 Greenbelt Rd, Lanham, MD 20706 | McQuay | Air Cooled | ALS171C12 STNU021100027 | N/A
Cesar Chavez ES | 6609 Riggs Rd, Hyattsville, MD 20782 | York | Air Cooled | YCAL00050EB 2EVM003587 | N/A
Chapel Forge ECC | 12711 Milan Way, Bowie, MD 20715 | McQuay | Air Cooled | AGZ100DH STNU130700004 | N/A
Charles H. Flowers HS | 10001 Ardwick Ardmore Rd, Springdale, MD 20774 | Trane | Water Cooled, Chiller 1 | RTHC1D1F0E U99F08491 | BAC | 1-33373-1 97421771 | EASI
Charles H. Flowers HS | 10001 Ardwick Ardmore Rd, Springdale, MD 20774 | Trane | Air Cooled, Chiller 2 YEAR ROUND CHILLER | RTUA0804YD U99D07793 | Trane | RTCA08040E U99D07623 | EASI
Charles H. Flowers HS | 10001 Ardwick Ardmore Rd, Springdale, MD 20774 | Trane | Air Cooled, Chiller 3 YEAR ROUND CHILLER | RTUA0804Y U99D07797 | Trane | RTCA08040E U99D07624 | EASI
Cool Spring ES | 8910 Riggs Rd, Adelphi, MD 20783 | Daikin | Air Cooled | AGZ140DH STNU14050022 | N/A
Croom Rica | 9400 Surratts Rd, Cheltenham, MD 20623 | Carrier | Water Cooled | 30HXC206RYU671AA, 3521Q27262 | Evapco | USS 19-3J11, 21P110949
Crossland HS | 6901 Temple Hills Rd, Temple Hills, MD 20748 | McQuay | Water Cooled | WME0500S STNU110200016 | Evapco | AT 29-521 7-323937 | Local
Deerfield Run ES | 13000 Laurel-Bowie Rd, Laurel, MD 20708 | York | Air Cooled | YCAL0114EB 2DTM000530 | N/A
District Heights ES | 2200 Country Rd, District Heights, MD 20747 | Trane | Air Cooled, Chiller 1 | CGAFC604 C05G06675 | N/A
District Heights ES | 2200 Country Rd, District Heights, MD 20747 | Trane | Air Cooled, Chiller 2 | CGAFC604 C05G06674 | N/A
Dodge Park ES | 3401 Hubbard Rd, Landover, MD 20785 | Trane | Air Cooled | RTAA1004XM U02B03534 | N/A
Doswell E. Brooks ES | 1301 Brooke Rd, Capitol Heights, MD 20743 | McQuay | Air Cooled, Roof Mounted, Chiller 1 | AGZ080DHSNN STNU120600093 | N/A
Doswell E. Brooks ES | 1301 Brooke Rd, Capitol Heights, MD 20743 | McQuay | Air Cooled, Chiller 2 | AGZ050BS12 STNU051100137 | N/A
Dr. Henry Wise HS | 12650 Brooks Ln, Upper Marlboro, MD 20772 | McQuay | Water Cooled, Chiller 1 | WSC087-BAAAR STNU050100030 | BAC | JE552A U041142101 | EASI
Dr. Henry Wise HS | 12650 Brooks Ln, Upper Marlboro, MD 20772 | McQuay | Air Cooled, YEAR ROUND CHILLER 2 | AGS250B27-ER10 STNU050100021 | N/A |  | EASI
Duval HS | 9880 Good Luck Rd, Lanham, MD 20706 | York | Air Cooled | YLAA0041HE46XCBBXTXAXXBLXCXX44SE, 11551L97942149 | N/A
Dwight D Eisenhower MS | 13725 Briarwood Dr, Laurel, MD 20708 | Trane | Water Cooled, Chiller 1 (Back Wing) | RTWD250A2G02A1A1AA2A1A1Y1A0A400000000000000000D0/ U18C00341 | BAC | S15E-1285-09MN/W Serial: U191881702-01-01 | EASI
Dwight D Eisenhower MS | 13725 Briarwood Dr, Laurel, MD 20708 | Carrier | Water Cooled, Chiller 2 (Main Wing) | 30HXC116RY-56IKA 1005Q04891 | BAC | 15146 U001514901 | EASI
Edward Felegy | 6110 Editors Park Drive Hyattsville, MD 20782 | Multistack | Modular Chiller | MS070XN4H2R0AAC-R410A, VME1H6S4 | N/A
Eleanor Roosevelt HS | 7601 Hanover Pkwy, Greenbelt, MD 20770 | York | Water Cooled, YEAR ROUND CHILLER 1 | YKEREQQ-CKG SAWM 482070 |  | Rental in place/ new tower on order | EASI
Eleanor Roosevelt HS | 7601 Hanover Pkwy, Greenbelt, MD 20770 | York | Water Cooled, YEAR ROUND CHILLER 2 | YKEREQQ-CKG SAWM 482270 |  | Rental in place/ new tower on order | EASI
Ernest Everett Just MS | 1300 Campus Way North, Mitchellville, MD 20721 | Trane | Water Cooled, Chiller 1 | RTHC 1C1H0H U01J06227 | BAC | 15270R U013125901 | Siemens Controls Insight BAS
Ernest Everett Just MS | 1300 Campus Way North, Mitchellville, MD 20721 | Trane | Air Cooled, YEAR ROUND CHILLER 2 | RTAA 1854YU01 U01K06839 | N/A |  | Siemens Controls Insight BAS
Facilities Admin. Building | 13300 Old Marlboro Pike, Upper Marlboro, MD 20772 | Daikin | Air Cooled | AGZ081EDSEMNN0A, SLPU221036244 | N/A
Flintstone ES | 800 Comanche Dr, Oxon Hill, MD 20745 | Carrier | Air Cooled | 30RBF13054-L---3, 4621Q93054 | N/A
Forestville HS | 7001 Beltz Dr, Forestville, MD 20747 | Carrier | Water Cooled | 19DK Compressor - 02XRV335KCH64 | BAC | PT2-1212A-3L U110984808-0 | Local
Frances Fuchs ECC | 11011 Cherry Hill Rd, Beltsville, MD 20705 | Daikin | Air Cooled | AGZ100EDSEMNN00, STNU80400200 | N/A
Francis Scott Key ES | 2301 Scott Key Dr, District Heights, MD 20747 | York | Air Cooled | YLAA0100SE46XFBSDTXA, 11531E64726951 | N/A
Francis T Evans ES | 6720 Old Alexandria Ferry Rd, Clinton, MD 20735 | Trane | Water Cooled | RTHDUB1FX U11A09366 | BAC | FXT-192, U220790801-01-01 | EASI
Friendly HS | 10000 Allentown Rd, Fort Washington, MD 20744 | Trane | Air cooled (MPR only) | CGAM070F2F02AX02A1A1A1AXXA101A4XXAXXXB1A5A1DXXXHXX, U12C28636 | N/A |  | EASI
Friendly HS | 10000 Allentown Rd, Fort Washington, MD 20744 | Trane | Water Cooled, Chiller 1 | CVHE450 L99K0414M | BAC | 15201 U136353301-01- 01 | EASI
Friendly HS | 10000 Allentown Rd, Fort Washington, MD 20744 | Trane | Water Cooled, Chiller 2 | RTHDUBIF U08A06901 | BAC | 15201 U136353301-01- 01 | EASI
G. James Gholson / Cora Rice | 950 Nalley Rd, Landover, MD 20785 | Carrier | Water Cooled, Chiller 1 | 30HXC261R--671-1, 1522Q27595 | BAC | XES15E-1212-09HN, U220043101-01-01 | EMCOR
G. James Gholson / Cora Rice | 950 Nalley Rd, Landover, MD 20785 | Carrier | Air Cooled YEAR ROUND CHILLER 2 | 30HXA126N--671AA-1, 1022Q27540 | Heat transfer products group | Air cooled condenser 09AZV122FE-6C--A, E022200397 | EMCOR
Gladys Noon Spellman ES | 3324 64th Ave, Cheverly, MD 20785 | Daikin | Air Cooled, Chiller 1 | AGZ125D STNU130500204 | N/A
Gladys Noon Spellman ES | 3324 64 th Ave, Cheverly, MD 20785 | Daikin | Air Cooled, Chiller 2 | AGZ110D STNU130500204 | N/A
Glenarden Woods ES | 7801 Glenarden Parkway Glenarden, MD 20706 | Chillit | Modular chiller module 1 | CCHAM050A4A8BS3B6GXN00NSSS, 170200493 | N/A
Glenarden Woods ES | 7801 Glenarden Parkway Glenarden, MD 20706 | Chillit | Modular chiller module 2 | CCHAM050A4A8BS3B6GXN00NSSS, 170200494
Glenarden Woods ES | 7801 Glenarden Parkway Glenarden, MD 20706 | Chillit | Modular chiller module 3 | CCHAM050A4A8BS3B6GXN00NSSS, 170200495
Glenarden Woods ES | 7801 Glenarden Parkway Glenarden, MD 20706 | Chillit | Modular chiller module 4 | CCHAM050A4A8BS3B6GXN00NSSS, 170200496
Greenbelt ES | 66 Ridge Rd Greenbelt, MD 20772 | Daikin | Air Cooled, Chiller 1 | AGZ120EDSEMNN00, STNU180500155 | N/A
Greenbelt ES | 66 Ridge Rd Greenbelt, MD 20772 | Daikin | Air Cooled, Chiller 2 | AGZ120EDSEMNN00, STNU180500154 | N/A
Gwynn Park HS | 13800 Brandywine Dr, Brandywine, MD 20613 | McQuay | Water Cooled | WMC400DBS-ER10 STNU130100011 | Evapco | AT19-912 7-317879 | Local
Gwynn Park MS | 8000 Dyson Rd, Brandywine, MD 20613 | Trane | Water Cooled | CVHE450 | BAC | 15325D 954CO65 | EASI
H. Winship Wheatley | 8801 Ritchie Dr, Capitol Heights, MD 20743 | Trane | Water Cooled | CGWD 50GCJ U98A07774 | BAC | Old tag NA | EASI
High Bridge ES | 7011 High Bridge Rd, Bowie, MD 20720 | York | Air Cooled, Roof Mounted, Chiller 1 | YCAA0070SE17XFBSDTX, 115S2E10521604 | N/A
High Bridge ES | 7011 High Bridge Rd, Bowie, MD 20720 | York | Air Cooled, Roof Mounted, Chiller 2 | YCAA0070SE17XFBSDTX, 115S2E10520697 | N/A
High Point HS | 3601 Powder Mill Rd, Beltsville, MD 20705 | Carrier | Water Cooled, Basement Chiller 1 | 10HX400601, 33191153286 | BAC | FXT-087/X, U192015501-01-01 | Siemens
High Point HS | 3601 Powder Mill Rd, Beltsville, MD 20705 | McQuay | Water Cooled, Upstairs Chiller 2 | WGS160AW27-ER10 | Evapco | AT8-79B 962439 | Siemens
Highland Park ES | 6501 Lowland Dr, Landover, MD 20785 | McQuay | Air Cooled, Chiller 1 | AGZ110CH STNU110100091 | N/A
Hillcrest Heights ES | 4305 22nd Pl, Temple Hills, MD 20748 | Trane | Air Cooled | RTAF 115E UAHH XUA2 N21X 3NWN CCV1 CAPB AXXA A1XX XX0U98C09331, Serial U21F01471 | N/A
Hollywood ES | 9811 49th Ave, College Park, MD 20740 | York | Air Cooled | YLAA0100SE45X 2AXM009900 | N/A
Howard B. Owens Science Center | 9602 Greenbelt Rd, Lanham, MD 20706 | McQuay | Air Cooled | AGZ1108BH12-ER11 | N/A
Hyattsville ES | 5311 43rd Ave, Hyattsville, MD 20781 | Daikin | Water Cooled | WGZ100DW STNU140300048 | BAC | PT20412A-1H1 U147271501-01- 01 | Local
Indian Queen ES | 9551 Fort Foote Rd, Fort Washington, MD 20744 | McQuay | Water Cooled | WMC250DBS-ER10 STNU130200132 | Evapco | AT 19-69 12-515845 | EASI
Isaac J. Gourdine MS | 8700 Allentown Rd, Fort Washington, MD 20744 | Daikin | Water Cooled | E2612KB2C2, 517K005100 | Evapco | USS 19-3J12, 17-823389 | EASI
James Duckworth Regional | 11201 Evans Trail Dr, Beltsville, MD 20705 | York | Air Cooled | YCRS0140SC46Y RHNM009213 | N/A
James Madison MS | 7300 Woodyard Rd, Upper Marlboro, MD 20772 | Currently a DCP renovation project |  |  |  |  | EASI
Jessie B. Mason | 2720 Iverson St, Temple Hills, MD 20748 | McQuay | Air Cooled | AGZ035BH STNU060400192 | N/A
John Carroll ES | 1400 Nalley Ter, Landover MD 20785 | McQuay | Air Cooled | AGZ130BHS STNU070400175 | N/A
John E. Howard ES | 4400 Shell St, Capitol Heights, MD 20743 | York | Air Cooled, Chiller 1 | YCRZ77C00 RLKM001554 | N/A
John E. Howard ES | 4400 Shell St, Capitol Heights, MD 20743 | York | Air Cooled, Chiller 2 | YCRZ77C00 RLKM001555 | N/A
Judge S. Woods ES | 3000 Church St, Glenarden, MD 20706 | McQuay | Air Cooled | AGR095A 58H8136901 | N/A
Judy Hoyer ( JHFLC ) | 8908 Riggs Rd, Adelphi, MD 20783 | Daikin | Air Cooled | AGZ025BS712 STNU180300093 | N/A
Kenmoor MS | 2500 Kenmoor Dr, Landover, MD 20785 | York | Water Cooled | YRWBWAT1 SMTM-143580 | BAC | 1-33520-11 97401578 | EASI
Kettering ES | 11000 Layton St, Upper Marlboro, MD 20774 | McQuay | Air Cooled | ALS171C12 STN0030600006 | N/A
Kingsford ES | 1401 Enterprise Rd, Mitchellville, MD 20721 | Carrier | Air Cooled | 30RAP10061B80300, 1720Q90792 | N/A
Lake Arbor ES | 10205 Lake Arbor Way, Mitchellville, MD 20721 | Petra | Air Cooled | PSC4-155, 230605/0101/01 | N/A
Langley P McCormick ES | 8201 15th Ave, Hyattsville, MD 20783 | York | Water Cooled | YCWS0200 2MVM004695 | BAC | S15E-1285-07KN, U203733801-01-01 | EASI
Largo HS | 505 Largo Rd, Upper Marlboro, MD 20772 | Trane | Water Cooled, Chiller 1 | CVHE0450 L09G00752 | Evapco | AT 212-824 11-410189 | EASI
Largo HS | 505 Largo Rd, Upper Marlboro, MD 20772 | Trane | Water Cooled, Chiller 2 | CVHE0450 L09G00753 | Evapco | AT 212-824 11-410189 | EASI
Laurel ES | 516 Montgomery St, Laurel, MD 20707 | York | Air Cooled | YCAL0134EB46 2GTM001249 | N/A
Laurel HS | 8000 Cherry Ln, Laurel, MD 20707 | York | Water Cooled | YCWS0200 RARMC13732 | BAC | FXT-192, U220790601-01-01 | EASI
Lewisdale ES | 2400 Banning Pl, Hyattsville, MD 20783 | York | Air Cooled, Chiller 1 | YLAA0070ZE46 2MVM004654 | N/A
Lewisdale ES | 2400 Banning Pl, Hyattsville, MD 20783 | York | Air Cooled, Chiller 2 | YLAA0070ZE46 2MVM004655 | N/A
Longfields ES | 3300 Newkirk Ave, Forestville, MD 20747 | Trane | Water Cooled | RTWD180A2B02 U11A09368 | BAC | VLT-190-DCS 93100988 | Local
Magnolia ES | 8400 Nightingale Dr, Lanham, MD 20706 | York | Air Cooled | YLAA0120SE17XFBSDTXAXXBLXCXX44SE1XXXHXXXYAXGXXX3XXBVXNXXXXXX, 11551M85836132 | N/A
Marlton ES | 8506 Old Colony Dr South, Upper Marlboro MD 20772 | Trane | Air Cooled | RTAC1554URON U08G004820000 | N/A
Martin Luther King Jr. MS | 4545 Ammendale Rd, Beltsville, MD 20705 | McQuay | Water Cooled | WSC063MAR29S E2209-BE | BAC | 97402579 1-33485-1 | Siemens Controls Insight BAS
Mary Harris “Mother” Jones | 2405 Tecumseh St, Adelphi, MD 20783 | Daikin | Air Cooled | AGZ161EDSEMNNOA, STNU201200161 | N/A
Matthew Henson Elementary School | 7910 Scott Rd, Landover, MD 20785 | Daikin | Air Cooled | AGZ140EDSEMNNOA, STNU210800115 | N/A
Maya Angelou | 2000 Callaway Street Temple Hills, MD20748 | Carrier | Air Cooled | 30RBF15064-LNW5C, 0919Q88954 | N/A
Montpelier ES | 9200 Muirkirk Rd, Laurel, MD 20708 | Daikin | Air Cooled | AGZ140DH STNU140500015 | N/A
Mount Rainier ES | 4011 32nd St Mount Rainier, MD 20712 | BAC | N/A | YEAR ROUND COOLING TOWER | BAC | FXV-0812B-16D-L-L/WQ | EMCOR
Northview ES | 3700 Northview Dr, Bowie, MD 20716 | Trane | Air Cooled | RTAC1554UK0NUAF U05L03339 | N/A
Northwestern HS | 7000 Adelphi Rd, Hyattsville, MD 20782 | Trane | Water Cooled | RTHC1D1F0E0G2L U99F09165 | BAC | 33373 USA000224101 | EASI
Northwestern HS | 7000 Adelphi Rd, Hyattsville, MD 20782 | Trane | Air Cooled, YEAR ROUND CHILLER | RTAA 2004YT U99K02470 | N/A
Oxon Hill ES | 7701 Livingston Rd, Oxon Hill, MD 20745 | York | Water Cooled | YTGOA1B2-CGH GKFM 083823 | BAC | PT2-0709A-3L1, 1279-100 | EASI
Oxon Hill MS | 9570 Fort Foote Rd, Fort Washington, MD 20744 | Trane | Water Cooled | RTWD120A2BO1 U09H05342 | Evapco | AT 19-76L 11-411808 | EMCOR
Oxon Hill MS | 9570 Fort Foote Rd, Fort Washington, MD 20744 | Daikin | Air Cooled | AGZ130EDSEMNN00, STNU190400040 | N/A
Panorama ES | 2002 Callaway St, Temple Hills, MD 20748 | McQuay | Air Cooled, Chiller 1 | ALS218C27 STNUO21100196 | N/A
Panorama ES | 2002 Callaway St, Temple Hills, MD 20748 | McQuay | Air Cooled, Chiller 2 | ALS218C27 STNUO21100224 | N/A
Parkdale HS | 6001 Good Luck Rd, Riverdale, MD 20737 | Trane | Water Cooled | CVHE050FA L99D1817M | BAC | 71-78-08 99106511 | Local
Patuxent ES | 4410 Bishopmill Dr, Upper Marlboro, MD 20772 | Daikin | Air Cooled, Roof Mounted | AGZ091EDSEMNN0A, SLPU230704573 | N/A
Perrywood ES | 501 Watkins Park Dr, Largo, MD 20774 | Trane | Air Cooled | RTAA1404XT U00A04791 | N/A
Phyllis Williams ES | 9601 Prince Pl, Upper Marlboro, MD 20772 | Trane | Air Cooled | RTAC1554UR U08G00469 | N/A
Port Towns ES | 4351 58th St, Bladensburg, MD 20710 | Daikin | Air Cooled | AGZ150EPMNN STNU151000195 | N/A
Potomac HS | 5211 Boydell Ave, Oxon Hill, MD 20745 | McQuay | Air Cooled, Chiller 1 | ALR135EY27 50E0131201 | N/A
Potomac HS | 5211 Boydell Ave, Oxon Hill, MD 20745 | McQuay | Air Cooled, Chiller 2 | ALR135EY27 50E0132201 | N/A
Potomac Landing ES | 12500 Fort Washington Rd, Fort Washington, MD 20744 | Trane | Water Cooled | RTWD180F U11A09367 | Evapco | AT19-58 T012203 | Local
Riverdale ES | 5006 Riverdale Rd, Riverdale, MD 20737 | York | Water Cooled | YCW0180SB46 2DVM003412 | Evapco | ICT4-812 962440 | EASI
Robert Goddard MS | 9850 Good Luck Rd, Seabrook, MD 20706 | Daikin | Air Cooled | AGZ191ETHEMNN00, STNU200800023 | N/A
Robert Goddard MS | 9850 Good Luck Rd, Seabrook, MD 20706 | Daikin | Air Cooled | AGZ191ETHEMNN00, STNU200800024 | N/A
Robert Gray ES | 4949 Addison Dr, Capitol Heights, MD 20743 | Trane | Air Cooled | RTAC1554U1MHUAFNL1TY1DDBBN5TN11AR0EXN, U22G02943 | N/A
Rogers Heights ES | 4301 58th Ave, Bladensburg, MD 20710 | Petra | Air Cooled, Chiller 1 | 30RBA0706 0506Q80784 | N/A
Rogers Heights ES | 4301 58th Ave, Bladensburg, MD 20710 | Petra | Air Cooled. Chiller 2 | 30RBA0706 0506Q80783 | N/A
Rosa L Parks ES | 6111 Ager Rd, Hyattsville, MD 20782 |  | N/A | YEAR ROUND COOLING TOWER | Evapco | LPT-849 4-113808 | EMCOR
Rosaryville ES | 9925 Rosaryville Rd, Upper Marlboro, MD 20772 | Daikin | Air Cooled | AGZ170ETSEMNN0A, STNU210600210 | N/A
Samuel Ogle ES | 4111 Chelmont Ln, Bowie, MD 20715 | York | Water Cooled | YSBBBAS0-CFD | Evapco | AT 8-29B 971029 | EMCOR
Samuel Ogle ES | 4111 Chelmont Ln, Bowie, MD 20715 | Daikin | Air Cooled | AGZ161EDSEMNN00, STNU170500165 | N/A
Samuel P. Massie ES | 3301 Regency Pkwy, Forestville, MD 20747 | Trane | Air Cooled, Chiller 1 | RTAC1854UDON U02D03971 | N/A
Samuel P. Massie ES | 3301 Regency Pkwy, Forestville, MD 20747 | Trane | Air Cooled, Chiller 2 | RTAC1854UDON U02D03972 | N/A
Sasscer Admin. Building | 14201 School Ln, Upper Marlboro, MD 20772 | Trane | Air Cooled, Chiller 1 | RTAA100AYT01 U07E03942 | N/A
Sasscer Admin. Building | 14201 School Ln, Upper Marlboro, MD 20772 | Trane | Air Cooled, Chiller 2 | RTAA100AYT01 U07E03940 | N/A
Scotchtown Hills ES | 15950 Dorset Rd, Laurel, MD 20707 | Daikin | Air Cooled | AGZ101EDSEMNN00, STNU200400007 | N/A
Seat Pleasant ES | 6411 G St, Capitol Heights, MD 20743 | York | Water Cooled | YCWS01800SB 2MVM004733 | Evapco | AT 8-49B, 22P122625 | EASI
Skyline ES | 6311 Randolph Rd, Suitland, MD 20746 | McQuay | Air Cooled | AGZ100BS12 STNU040900005 | N/A
Suitland ES | 4650 Homer Ave, Suitland, MD 20746 | Trane | Air Cooled | CGAFC50EA C04C02262 | N/A
Suitland HS | 5200 Silver Hill Rd, Forestville, MD 20746 | Trane | Air Cooled | RTAC200AUF U03K02360 | N/A
Suitland HS Auditorium | 5200 Silver Hill Rd, Forestville, MD 20746 | Trane | Air Cooled, Chiller 1 | RTAA 070A U99D07171 | N/A
Suitland HS Auditorium | 5200 Silver Hill Rd, Forestville, MD 20746 | Trane | Air Cooled, Chiller 2 | RTAA 070A U99D07172 | N/A
Surrattsville HS | 6101 Garden Dr, Clinton, MD 20735 | Trane | Water Cooled, Chiller 1 | RTWD120F2B01 U12C03122 | Marley | NC 10051643A1- NC8403GG12 | Local
Surrattsville HS | 6101 Garden Dr, Clinton, MD 20735 | Trane | Water Cooled, Chiller 2 | RTWD120F 2B01 U12C03123 | Marley | NC 10051643A1- NC8403GG12 | Local
Tall Oaks HS | 2112 Church Rd, Bowie, MD 20716 | Trane | Air Cooled | RTAA070AYT01 U08F09728 | N/A
Tanglewood SPC | 8333 Woodyard Rd, Clinton, MD 20735 | Daikin | Air Cooled | AGZ110EDSEPN00, STNU170500176 | N/A
Tayac ES | 8600 Allentown Rd Fort Washington, MD 20744 | Trane | Air Cooled | CGAM090A2W02, U20E81316 | N/A
Thomas Claggett ES | 2001 Addison Rd, District Heights, MD 20747 | Carrier | Water Cooled | 30HXC136RZE571AA, 3722Q27820 | Marley | NC8401KAN1CGF, 10224618-A1 | EASI
Thomas Johnson MS | 5401 Barker Pl, Lanham, MD 20706 | York | Water Cooled | YCWC01185C 2MVM004732 |  | New tower on order | EMCOR
Thomas Johnson MS | 5401 Barker Pl, Lanham, MD, 20706 | Daikin | Air Cooled | AGZ180ETSEMNN00, STNU190400045 | N/A |  | EMCOR
Thomas Stone ES | 4500 34th St, Mt Rainer, MD 20712 | Carrier | Air Cooled | 30RBF07055-L770K, 2022Q93730 | N/A
University Park ES | 4315 Underwood St, Hyattsville, MD 20782 | York | Air Cooled | YCAL0114EB46 RASM017176 | N/A
William Wallace Hall ES | 5200 Marlboro Pike, Upper Marlboro, MD 20772 | McQuay | Air Cooled, Chiller 1 | ALS206C STNU040300077 | N/A
William Wallace Hall ES | 5200 Marlboro Pike, Upper Marlboro, MD 20772 | McQuay | Air Cooled, Chiller 2 | ALS206C STNU040300065 | N/A